## Slide 1
Imaging system: 2D tomographic system
Field of view (FOV): a unit disk
Kernel:
32 strips, 16 angles: a total of sensitivity functions
Object pixels: , and
Expansion function matrices for different pixels:
rotations

## Slide 2
Dataset generation: 500 examples
Signal:
where , and
Background (10 lumps):
where and .
For larger (), SNR is large, making the object visually clearer. Conversely, for smaller (), the background amplitude () increases leading to a decrease in SNR and making it more challenging to visually discern the object.
Notes: code: pba.py

## Slide 3
Projection and reconstruction
SVD decomposition and SVD-based pseudo-inverse:
,
Projection and reconstruction:
,
Notes: code: pbb.py

## Slide 4
Eigenvalues
Notes: code: pbb.py

## Slide 5
Eigenvectors: and
Notes: code: pbb.py

## Slide 6
Eigenvectors: and
Notes: code: pbb.py

## Slide 7: “AI”-based Segmentation using CNNs
Convolution Layer
U-Net Architecture
Convolution layers incorporate information from neighboring pixels
U-Net architecture allows for efficient ”compression” and “decompression” of high dimensional data for computational cost savings
Notes: https://towardsdatascience.com/beginners-guide-to-understanding-convolutional-neural-networks-ae9ed58bb17d?gi=f4cbd89cadd8
https://medium.com/aimonks/unlocking-the-potential-of-convolutional-autoencoders-a-deep-dive-into-image-processing-and-3d1212bad408

## Slide 8: Mini U-net
Smaller model
465986 parameters

## Slide 9: U-net Training
Data from reconstructed object images and labels
  100 test, 400 training
  Normalize image values between [0, 1]
  Mask/labels are either 0 (background) or 1 (signal)
Minimize training loss
Validate with test images
Notes: https://towardsdatascience.com/beginners-guide-to-understanding-convolutional-neural-networks-ae9ed58bb17d?gi=f4cbd89cadd8
https://medium.com/aimonks/unlocking-the-potential-of-convolutional-autoencoders-a-deep-dive-into-image-processing-and-3d1212bad408

## Slide 10: 8x8 Segmentation Results

## Slide 11: 32x32 Segmentation Results

## Slide 12: 64x64 Segmentation Results

## Slide 13: 128x128 Segmentation Results

## Slide 14: Part D calculations
dice similarity coefficient (DSC) definition
  between sets X and Y, where is number of shared elements between the two sets, and & are the number of elements in each set respectively
  In the context of the project, is pixel number in true segmentation, is pixel number in CNN estimated segmentation, and is number of identical pixels shared between the two
  In case where both X and Y are empty sets, DSC is set to 1 since the model correctly identifies that there are no object pixels present
Signal area definition
  is used to generate system matrix, thus true signal area =
  Model signal area can be obtained by

## Slide 15: dice similarity coefficient (DSC)
DSC decreases slightly with larger amount of pixels at first
  More pixels but same amount of parameters
DSC Increases again with 128x128
  Higher fidelity reconstruction

## Slide 16: Signal area size as a function of
Notice loss of stability (jagged lines) with smaller
More pixels lowers the threshold before loss of stability
  Higher resolution allows for resolving smaller signals

## Slide 17: Conclusion
#Pixels↑ Pixel Size↓ Reconstruction quality↑
Index↑ Eigenvalue↓ Eigenvector oscillations↑
#Pixels↑ #Non-null eigenvalues↑
#Pixels↓↓ Convolution breadth↓ Segment accuracy↑
#Pixels↑↑ Reconstruction quality↑ Segment accuracy↑
#Pixels↓ Reconstruction quality↓ Min size of resolvable signal↑