## Slide 1
Imaging system: 2D tomographic system
Field of view (FOV): a unit disk
Kernel:
32 strips, 16 angles: a total of sensitivity functions
Object pixels: , and
Expansion function matrices for different pixels:
rotations

## Slide 2
Dataset generation: 500 examples
Signal:
where , and
Background (10 lumps):
where and .
For larger (), SNR is large, making the object visually clearer. Conversely, for smaller (), the background amplitude () increases leading to a decrease in SNR and making it more challenging to visually discern the object.
Notes: code: pba.py

## Slide 3
Projection and reconstruction
SVD decomposition and SVD-based pseudo-inverse:
,
Projection and reconstruction:
,
Notes: code: pbb.py

## Slide 4
Eigenvalues
Notes: code: pbb.py

## Slide 5
Eigenvectors: and
Notes: code: pbb.py

## Slide 6
Eigenvectors: and
Notes: code: pbb.py